## Sheet1
UPS & Inverter Arrangement sheet (19/10/2023)
UPS No. | Capacity | Ex. Machines | Ex. Load | Pro. Machines | Pro. Load | Siiting Number | Floor
UPS 1 | 2 KVA Q 2020 | 8 | 1800 | 1 | 200 | 1 to 8 +Camera DVR + EPBX system + Biometric sustem (1st Floor) + GB Switches - 1st floor (Switch) | Ground Floor + 1st floor
UPS 2 | 3 KVA ELNOVA 3000 senior series | 10 | 2100 | 1 | 200 | 11 to 20 + 22 + (WIFI) S2 | 1st Floor
UPS 3 | 2 KVA Q 2020 | 7 | 1400 | 0 | 0 | 41 to 47 | 1st Floor
UPS 4 | 2 KVA Q 2020 | 7 | 1400 | 0 | 0 | 34 to 40 + S3 | 1st Floor
UPS 5 | 3 KVA ELNOVA 3000 senior series | 11 | 2300 | 1 | 200 | (23 to 24) + (26 to 31) + (92 to 96) + S5 | 1st Floor (For 92-96, connecting line taken from 26 no.)
UPS 6 | 3 KVA ELNOVA 3000 senior series | 15 | 3100 | 0 | 0 | 50 to 63, + 59 + S4 | 1st Floor
UPS 7 | 2 KVA Q 2020 | 7 | 1500 | 4 | 800 | 67 to 74 + S6 | 2nd Floor
UPS 8 | 2 KVA ELNOVA Black X2000 2018(New) | 8 | 1600 | 2 | 400 | 75 to 86 + Vivek sir (2nd floor) + (87 to 91) 3rd floor | 2nd Floor + 3rd floor
Inverter No. 9 | Microtek SW 2000 |  |  |  |  | 2 lights of MS Cabin, 1 light of accountant, Both washrooms, All fans, 2 lights in DR, 2 lights in HR area, 4 lights in Pantry | Ground Floor
UPS 10 | 2.2 KVA MARC Black 2000 | Back up | Back up | Back up | Back up | FREE
Inverter No. 11 | Microtek SW 2000 |  |  |  |  | All fans, central light Trainee table, WP light near DR & 1 light near washroom, Central light in Magento Section, Washrrom lights, 2 lights near server | 1st Floor
Inverter No. 12 | Perfect 2000 |  |  |  |  | All fans, Lights (1 - conference, Manish Sir, Marketing 1 - near pillar, 1 above snooker table, central light above product didvision, Washroom both lights, VS cabin 2 lights &3rd floor light & fan | 2nd & 3rd Floor
UPS 13 | 2 KVA | 4 | 1200 | 0 | 0 | Servers + Swiches | 2nd Floor + 3rd floor
Network Switch & Point Detials
S.No | Port No. | Details Of Port Usage
Ground Floor Switch | 16 port (S1) | 13 port used:- IO 1 to 9 (EPBX)+ I dvr + bio mattrix / 1-Blank, Direct Internet Cable 2, Direct Internet Cable 1
First Floor:- Switch-6, (1-WiFi) | 24 (S2) Port, 24 (S3),16(S4),8(S5),5(S6) | (In Trainee Table, S2 Used-16,io-34 to 47)+ WiFi, 8 Port Blank), (Near Discussion Room (S3- 24 Port- 16 Used-io-11 to 25) 8- Blank), (In Magento- S4 16 Port- 12 Used-io,48 to 55), Blank- 4), (In QA- S5 & S6 io 26 to 33), |  |  |  |  | Server Rack:- S-4 Giga 24 port manageable switch full,59 to 60 IO, DVR,3 Servers, Firewall,(Dlink Router Idle)
Second Floor - Switch -3+(WiFi) | 24 Port, 24,8, | (S-1 In-IOS:- 24 Port Used 15:-,IO 64 To 77, Blank 9),(Sales & Marketing, S-2 24 Port, 9 Used IO:- 78 to 86), |  |  |  |  | S-3 8 Port, Used 8:- (io,1) Main,(io,2)-S2 Sales&M),(3rd Floor,Switch) (io,4 3rd Floor Table),(io,5 WiFi)(io-6 Extra Internet Free,Cable
TERRACE-3rd Floor | 8 Port+(WiFi) | (In Guest Room-Used:- 6 Port) Blank-2 :- (io1-Main,io -87 to 91,
User & Extention
S.No | Name Of User |  |  |  |  | Extention Numbers
Ground Floor
1 | Reception |  |  |  |  | 21
2 | HR |  |  |  |  | 22
3 | Discussion Room |  |  |  |  | 23
4 | Mahesh Sir |  |  |  |  | 24
5 | Training Room |  |  |  |  | 25
6 | Guard Room |  |  |  |  | 26
7 | [5 empty] | First Floor
8 | P M (Ashish & JP |  |  |  |  | 101
9 | Server Rack |  |  |  |  | 104
10 | Discussion Room |  |  |  |  | 103
11 | [5 empty] | Second Floor
12 | Vivek Sir |  |  |  |  | 201
13 | Manish Sir |  |  |  |  | 202
14 | Marketing & Product |  |  |  |  | 203
15 | Conference Room |  |  |  |  | 204
16 | [5 empty] | Third Floor
17 | Guest Room |  |  |  |  | 301
18 | Terrace |  |  |  |  | 302
Meter Box MCB
1 | Vestar AC on the right side of pantry
2 | Ogeneral AC in HR
3 | Kenstar AC in Discussion room
4 | Vestar AC on the left side of pantry
5
6 | MS Cabin & Washroom lights
7 | Discussion room + HR+ Cycle parking lights
8
9 | Staircase light on ground floor
10 | Staircase light on first floor
11 | TT Area lights, fan & LED strip
12 | Pantry light & porch
Note on A1: Author: As discussed and confirmed by Dilip Electrician and Rahul sir.